## Sheet1
| Experiment 2 | [29 empty] | Uncertainty
numero | Volume [mL] | concentration [mg/L] | Measurements | [27 empty] | quantity | abs. uncertainty | units | notes
|  |  | Spectro 1 |  |  |  |  | Spectro 2 | [22 empty] | mass of colorant | 0.1 | mg | Uncertainty of the reading
|  |  | blue |  |  |  |  | blue 1 | [10 empty] | blue 2 (UV) | [11 empty] | volume of water | 5 | mL | half of the resolution of the graduated cylinder
|  |  | I blank | I test | Avg | Abs. calculated | Abs. reading | I blank | I test 1 | I test 2 | I test 3 | I test 4 | I test 5 | Avg | std | error | Abs. calculated | Abs. reading | I blank | I test 1 | I test 2 | I test 3 | I test 4 | I test 5 | Avg | std | error | Abs. calculated | Abs. reading |  | Concentration uncertainty [mg/L]
0 | 0 |  | 198415 | 198584 | 198499.5 |  | ''-0.00'' | 10946 | 10951 | 10916 | 10990 | 10883 | 10960 | 10941 | 37.0837 |  |  | '-0.00'' | 141366 | 141463 | 141500 | 141524 | 141473 | 141449 | 141462.5 | 54.3939 |  |  | '-0.00'' |  | 0
1 | 300 | 0 | 259559 | 259356 | 259457.5 | 0 | '0.00'' | 3714 | 3740 | 3735 | 3735 | 3704 | 3737 | 3727.5 | 14.7885 | 0 | 0 | '-0.00'' | 439350 | 433723 | 437647 | 437679 | 230048 | 433959 | 402067.6667 | 84301.7335 | 0 | 0 | '0.01'' | 0 | 0
2 | 300 | 84.6667 | 72982 | 73136 | 73059 | 0.55039 | '-0.00'' | 15 | 7 | 13 | 14 | 13 | 16 | 13 | 3.1623 | 0.10566 | 2.4575 | inf | 22 | 22 | 23 | 24 | 23 | 26 | 23.3333 | 1.5055 | 0.095273 | 4.2363 | '0.00'' | 0.77341 | 1.4499
3 | 400 | 63.5 | 104122 | 103961 | 104041.5 | 0.39686 | '0.00'' | 18 | 21 | 17 | 17 | 15 | 19 | 17.8333 | 2.0412 | 0.04974 | 2.3202 | '0.00'' | 138 | 136 | 137 | 136 | 141 | 137 | 137.5 | 1.8708 | 0.09125 | 3.466 | '0.00'' | 0.49818 | 1.15
4 | 500 | 50.8 | 123761 | 124047 | 123904 | 0.32098 | '-0.00'' | 30 | 29 | 29 | 27 | 27 | 30 | 28.6667 | 1.3663 | 0.02077 | 2.114 | '0.00'' | 335 | 335 | 336 | 340 | 331 | 333 | 335 | 3.0332 | 0.091144 | 3.0793 | '0.00'' | 0.41966 | 0.90233
5 | 600 | 42.3333 | 140993 | 141065 | 141029 | 0.26476 | '-0.00'' | 42 | 45 | 45 | 47 | 45 | 46 | 45 | 1.6733 | 0.016241 | 1.9182 | '0.00'' | 921 | 922 | 921 | 925 | 925 | 925 | 923.1667 | 2.0412 | 0.091064 | 2.639 | '0.00'' | 0.3134 | 0.72497
6 | 700 | 36.2857 | 155822 | 155953 | 155887.5 | 0.22125 | '-0.00'' | 46 | 45 | 47 | 45 | 42 | 44 | 44.8333 | 1.7224 | 0.016773 | 1.9198 | '0.00'' | 1921 | 1923 | 1933 | 1934 | 1927 | 1936 | 1929 | 6.229 | 0.09107 | 2.319 | '-0.00'' | 0.17354 | 0.5969
7 | 800 | 31.75 | 161975 | 162053 | 162014 | 0.20451 | '-0.00'' | 67 | 66 | 85 | 69 | 65 | 71 | 70.5 | 7.4229 | 0.045759 | 1.7232 | '0.00'' | 3086 | 3087 | 3080 | 3096 | 3101 | 3097 | 3091.1667 | 8.0353 | 0.091066 | 2.1142 | '-0.00'' | 0.16998 | 0.50189
8 | 900 | 28.2222 | 175102 | 176339 | 175720.5 | 0.16924 | '-0.00'' | 89 | 93 | 89 | 91 | 91 | 95 | 91.3333 | 2.3381 | 0.01125 | 1.6108 | '0.00'' | 5151 | 5139 | 5136 | 5133 | 5131 | 5125 | 5135.8333 | 8.8185 | 0.091062 | 1.8937 | '0.00'' | 0.123 | 0.42945
9 | 1000 | 25.4 | 184054 | 184166 | 184110 | 0.14899 | '-0.00'' | 119 | 120 | 124 | 124 | 122 | 122 | 121.8333 | 2.0412 | 0.0074776 | 1.4857 | '0.00'' | 6823 | 6798 | 6803 | 6775 | 6781 | 6790 | 6795 | 17.193 | 0.091065 | 1.7721 | '0.00'' | 0.12455 | 0.37287
Note that for each addition of water to the bioreactor, the same uncertainty applies, hence, the uncertainties adds up (we will use the rms method)