## Sheet1
| Experiment 2 | [20 empty] | Uncertainty
numero | Volume [mL] | concentration [mg/L] | Measurements | [18 empty] | quantity | abs. uncertainty | units | notes
|  |  | Spectro 1 |  |  |  |  | Spectro 2 | [13 empty] | mass of colorant | 0.1 | mg | Uncertainty of the reading
|  |  | blue |  |  |  |  | blue 1 | [6 empty] | blue 2 (UV) | [6 empty] | volume of water | 5 | mL | half of the resolution of the graduated cylinder
|  |  | I blank | I test | Avg | Abs. calculated | Abs. reading | I blank | I test | Avg | std | error | Abs. calculated | Abs. reading | I blank | I test | Avg | std | error | Abs. calculated | Abs. reading | Concentration uncertainty [mg/L]
0 | 0 |  | 203129 | 203176 | 203152.5 | 0 | 0 | 399 | 394 | 1182.6667 | 17.0958 |  |  | "0.00" | 142401 | 142593 | 144643 | 31.1448 |  |  | "0.00" | 0
1 | 300 | 0 | 260157 | 259935 | 260046 | 0 |  |  |  | 338.3333 | 8.5713 | 0 | 0 | "0.00" |  |  | 371817 | 572.3513 | 0 | 0 | "-0.00" | 0
2 | 300 | 82.6667 | 79051 | 79100 | 79075.5 | 0.51701 | "-0.00" |  |  | -3.6667 | 6.6833 | 0.7806 | #NUM! | nan |  |  | 36.1667 | 5.4924 | 0.066622 | 4.012 | "0.00" | 1.7111
3 | 400 | 62 | 106585 | 106603 | 106594 | 0.38732 | "-0.00" |  |  | 3.3333 | 4.8442 | 0.64215 | 2.0065 | nan |  |  | 143.1667 | 2.7869 | 0.0091225 | 3.4145 | 0.05 | 1.346
4 | 500 | 49.6 | 126160 | 126444 | 126302 | 0.31364 | "-0.00" |  |  | -36.1667 | 69.2746 | 0.82086 | #NUM! | nan |  |  | 373.5 | 39.4804 | 0.046575 | 2.998 | 0.06 | 1.0591
5 | 600 | 41.3333 | 145135 | 144865 | 145000 | 0.25368 | "-0.00" |  |  | 24.3333 | 52.2864 | 0.9442 | 1.1431 | inf |  |  | 913 | 2.8284 | 0.0020139 | 2.6099 | -0.01 | 0.85556
6 | 700 | 35.4286 | 160937 | 160910 | 160923.5 | 0.20843 | "0.00" |  |  | -24.1667 | 103.5228 | 1.8494 | #NUM! | nan |  |  | 1851.5 | 18.2291 | 0.0049444 | 2.3028 | 0.01 | 0.70872
7 | 800 | 31 | 167863 | 167974 | 167918.5 | 0.18995 | "-0.00" |  |  | 7.8333 | 4.6224 | 0.26728 | 1.6354 | inf |  |  | 3120.3333 | 14.0665 | 0.0026263 | 2.0761 | "-0.00" | 0.59959
8 | 900 | 27.5556 | 177711 | 177766 | 177738.5 | 0.16527 | "-0.00" |  |  | 10.3333 | 9.2232 | 0.39864 | 1.5151 | inf |  |  | 4548.1667 | 28.8404 | 0.0034224 | 1.9125 | "0.00" | 0.51614
9 | 1000 | 24.8 | 180447 | 180491 | 180469 | 0.15865 | "-0.00" |  |  | 6 | 27.3203 | 1.9885 | 1.7512 | inf |  |  | 6508.8333 | 22.418 | 0.0021643 | 1.7568 | "-0.00" | 0.45072
Note that for each addition of water to the bioreactor, the same uncertainty applies, hence, the uncertainties adds up (we will use the rms method)
| 0 | 0 | [5 empty] | 1173 | [6 empty] | 144695
[8 empty] | 1165 | [6 empty] | 144645
[8 empty] | 1194 | [6 empty] | 144644
[8 empty] | 1209 | [6 empty] | 144646
[8 empty] | 1187 | [6 empty] | 144629
[8 empty] | 1168 | [6 empty] | 144599
| 300 | 0 | [5 empty] | 348 | [6 empty] | 371350
| water only | [6 empty] | 339 | [6 empty] | 370979
[8 empty] | 334 | [6 empty] | 372537
[8 empty] | 325 | [6 empty] | 371796
[8 empty] | 347 | [6 empty] | 372033
[8 empty] | 337 | [6 empty] | 372207
| 300 | 82.6667 | [5 empty] | 6 | [6 empty] | 46
[8 empty] | 0 | [6 empty] | 34
[8 empty] | -9 | [6 empty] | 31
[8 empty] | -3 | [6 empty] | 39
[8 empty] | -13 | [6 empty] | 33
[8 empty] | -3 | [6 empty] | 34
| 400 | 62 | [5 empty] | 11 | [6 empty] | 146
[8 empty] | 5 | [6 empty] | 145
[8 empty] | 6 | [6 empty] | 146
[8 empty] | 0 | [6 empty] | 141
[8 empty] | -1 | [6 empty] | 140
[8 empty] | -1 | [6 empty] | 141
| 500 | 49.6 | [5 empty] | -159 | [6 empty] | 361
[8 empty] | 1 | [6 empty] | 366
[8 empty] | 6 | [6 empty] | 368
[8 empty] | -80 | [6 empty] | 435
[8 empty] | 10 | [6 empty] | 395
[8 empty] | 5 | [6 empty] | 316
| 600 | 41.3333 | [5 empty] | 131 | [6 empty] | 911
[8 empty] | 4 | [6 empty] | 913
[8 empty] | 1 | [6 empty] | 910
[8 empty] | 2 | [6 empty] | 912
[8 empty] | 2 | [6 empty] | 914
[8 empty] | 6 | [6 empty] | 918
| 700 | 35.4286 | [5 empty] | -232 | [6 empty] | 1849
[8 empty] | 4 | [6 empty] | 1860
[8 empty] | 50 | [6 empty] | 1877
[8 empty] | 2 | [6 empty] | 1856
[8 empty] | 4 | [6 empty] | 1845
[8 empty] | 27 | [6 empty] | 1822
| 800 | 31 | [5 empty] | 16 | [6 empty] | 3096
[8 empty] | 8 | [6 empty] | 3116
[8 empty] | 4 | [6 empty] | 3137
[8 empty] | 7 | [6 empty] | 3130
[8 empty] | 9 | [6 empty] | 3123
[8 empty] | 3 | [6 empty] | 3120
| 900 | 27.5556 | [5 empty] | 29 | [6 empty] | 4606
[8 empty] | 6 | [6 empty] | 4533
[8 empty] | 8 | [6 empty] | 4535
[8 empty] | 5 | [6 empty] | 4536
[8 empty] | 8 | [6 empty] | 4532
[8 empty] | 6 | [6 empty] | 4547
| 1000 | 24.8 | [5 empty] | 38 | [6 empty] | 6471
[8 empty] | -45 | [6 empty] | 6515
[8 empty] | 14 | [6 empty] | 6521
[8 empty] | 9 | [6 empty] | 6513
[8 empty] | 11 | [6 empty] | 6536
[8 empty] | 9 | [6 empty] | 6497