## Sheet1
| Experiment 4 | [26 empty] | Uncertainty
numero | Time* [hh:mm] | Comment** | Measurements | [24 empty] | quantity | abs. uncertainty | units | notes
|  |  | Spectro 1 | Spectro 2 | [23 empty] | mass of colorant |  | mg | Uncertainty of the reading
|  |  |  | blue 1 | [10 empty] | blue 2 / UV | [12 empty] | volume of water |  | mL | half of the resolution of the graduated cylinder
|  |  | Abs. reading | I blank | I test 1 | I test 2 | I test 3 | I test 4 | I test 5 | Avg | std | error | Abs. calculated | Abs. reading | I blank | I test 1 | I test 2 | I test 3 | I test 4 | I test 5 | Avg | std | error | Abs. calculated | Abs. reading | Abs. diff. | error | Concentration uncertainty [mg/L]
0 | 9:51 | blank - s0 |  | 37048 | 37275 | 37414 | 37274 | 37707 | 37575 | 37382.1667 | 236.0368 |  | 0 | 0.01 | 9723 | 3154 | 1593 | 1176 | 5141 | 69456 | 15040.5 | 26839.0426 | [5 empty] | 0
1 | 10:16 | inoculation |  | 37571 | 37463 | 36627 | 37380 | 37348 | 37163 | 37258.6667 | 337.6866 | 0 | 0.0014372 | 0 | 126996 | 128088 | 122073 | 54427 | 27004 | -26 | 76427 | 56712.14 | 0 | 0 | nan | -0.0014372 | 0 | 0
2 | 10:23 | s1 |  | 37220 | 37207 | 37503 | 37302 | 37384 | 36673 | 37214.8333 | 287.3767 | 0.0051711 | 0.0019484 |  | 66 | 15 | 231 | 18 | 419 | 42 | 131.8333 | 162.0561 | 0.62358 | 2.7632 |  | 2.7613 | 0.62361 | 231.1396
3 | 10:27 | s1 bis |  | 37530 | 37547 | 37484 | 37492 | 37232 | 37166 | 37408.5 | 165.2728 | 0.0043789 | -0.00030582 | 0 | -13 | -46 | -28 | 12 | -45 | 21 | -16.5 | 28.4447 | 0.8151 | #NUM! | inf | #NUM! | 0.81511 | 62768.214
4 | 10:37 | add. Meas. |  | 37175 | 37090 | 37095 | 37142 | 36898 | 37076 | 37079.3333 | 96.2614 | 0.0040944 | 0.0035326 | 0 | -22 | -28 | -67 | -35 | 17 | -36 | -28.5 | 27.179 | 0.52477 | #NUM! | -0.3 | #NUM! | 0.52479 | 86002.2036
5 | 11:11 | s2 |  | 36208 | 36131 | 36174 | 35854 | 35872 | 36069 | 36051.3333 | 153.2001 | 0.0043473 | 0.015743 | 0 | -17 | 22 | 17 | 7 | 3 | 35 | 11.1667 | 17.8708 | 0.76611 | 3.8353 | nan | 3.8196 | 0.76612 | 94926.7566
6 | 11:29 | add. Meas. |  | 36506 | 36383 | 36532 | 36524 | 36611 | 35969 | 36420.8333 | 233.2393 | 0.0048196 | 0.011315 | 0.01 | -5 | 150 | -12 | -30 | -31 | -18 | 9 | 69.8112 | 3.3841 | 3.929 | inf | 3.9177 | 3.3841 | 103959.5462
7 | 12:04 | add. Meas. |  | 36117 | 36096 | 36145 | 35966 | 35937 | 35829 | 36015 | 124.0532 | 0.0042108 | 0.016181 | 0 | 13 | 13 | 7 | -97 | -39 | -5 | -18 | 43.3544 | 1.0945 | #NUM! | nan | #NUM! | 1.0946 | 105264.1749
8 | 12:08 | s3 |  | 35844 | 35874 | 35865 | 35901 | 36076 | 35959 | 35919.8333 | 86.1799 | 0.0040717 | 0.01733 | "-0.00" | 12 | 47 | -52 | -23 | -65 | 12 | -11.5 | 42.8054 | 1.6483 | #NUM! | nan | #NUM! | 1.6483 | 114047.4201
9 | 13:14 | add. Meas. |  | 36427 | 36504 | 36462 | 36403 | 36570 | 36552 | 36486.3333 | 67.3518 | 0.004017 | 0.010534 | "-0.00" | -6 | -18 | -6 | -4 | 27 | -33 | -6.6667 | 19.8158 | 1.3305 | #NUM! | inf | #NUM! | 1.3305 | 103557.2781
10 | 14:17 | s4 |  | 36676 | 36530 | 36685 | 36739 | 36704 | 36617 | 36658.5 | 74.5567 | 0.004034 | 0.0084898 | "0.00" | 26 | 32 | -21 | -7 | 14 | -28 | 2.6667 | 25.0093 | 4.0858 | 4.4573 | nan | 4.4488 | 4.0858 | 95028.9595
11 | 14:41 | add. Meas. |  | 36898 | 36854 | 36771 | 36965 | 36893 | 36978 | 36893.1667 | 75.9458 | 0.0040364 | 0.0057185 | "-0.00" | -28 | 3 | -37 | 50 | -36 | 1 | -7.8333 | 33.439 | 1.8817 | #NUM! | nan | #NUM! | 1.8817
12 | 15:12 | s5 |  | 36881 | 36825 | 36812 | 36739 | 36832 | 36922 | 36835.1667 | 62.5121 | 0.0040046 | 0.0064018 | "-0.00" | 19 | 36 | 33 | 32 | 6 | -25 | 16.8333 | 23.3702 | 0.68366 | 3.6571 | nan | 3.6507 | 0.68368
13 | 15:44 | s6 |  | 36848 | 36860 | 36853 | 36875 | 36795 | 36805 | 36839.3333 | 31.9541 | 0.0039541 | 0.0063527 | "0.00" | 38 | 13 | -6 | 26 | -45 | -19 | 1.1667 | 30.6687 | 11.421 | 4.8163 | nan | 4.8099 | 11.421
14 | 16:14 | s7 |  | 36692 | 36658 | 36749 | 36643 | 36749 | 36729 | 36703.3333 | 46.1591 | 0.0039739 | 0.007959 | "-0.00" | -31 | -4 | 16 | -22 | -22 | 26 | -6.1667 | 23.0167 | 1.6527 | #NUM! | nan | #NUM! | 1.6527
15 | 16:51 | s8 |  | 36800 | 36848 | 36883 | 36847 | 36779 | 36798 | 36825.8333 | 39.6051 | 0.0039638 | 0.0065119 | "0.00" | -6 | 30 | -24 | 10 | 7 | -20 | -0.5 | 20.2953 | 17.6312 | #NUM! | inf | #NUM! | 17.6312
16 | 17:21 | s9 |  | 36694 | 36695 | 36721 | 36866 | 36908 | 36835 | 36786.5 | 94.5024 | 0.0040912 | 0.006976 | "-0.00" | 11 | 4 | 20 | -16 | 14 | 0 | 5.5 | 12.7083 | 1.054 | 4.1429 | nan | 4.1359 | 1.054
17 | 17:36 | add. Meas. |  | 36528 | 36500 | 36709 | 36644 | 36686 | 36567 | 36605.6667 | 86.3636 | 0.0040673 | 0.0091161 | "-0.00" | -6 | -37 | 25 | -10 | 3 | 9 | -2.6667 | 20.8678 | 3.4138 | #NUM! | nan | #NUM! | 3.4138
*adding more bacterias at 14:39 since the growing phase seemed to have stopped
**