## Sheet1
Experiment 4 | [35 empty] | mm
Volume [mL] | concentration [mg/L] | Measurements | [28 empty] | error |  |  |  | thickness1 | 10
|  | Spectro 1 |  |  |  |  | Spectro 2 | [23 empty] | mass | 0.1 | mg |  | thickness2.1 | 10.5
|  | blue |  |  |  |  | blue 1 | [10 empty] | blue 2 (UV) | [12 empty] | initial volume | 2.5 | mL
|  | I blank | I test | Avg | Abs. calculated | Abs. reading | I blank | I test 1 | I test 2 | I test 3 | I test 4 | I test 5 | Avg | std | error | Abs. calculated | Abs. reading | I blank | I test 1 | I test 2 | I test 3 | I test 4 | I test 5 | Avg | std | error | Abs. calculated | Abs. reading | Abs. diff. | Abs. diff. norm. | additional volume | 0.5 | mL | half of the reading
0 | 0 | 207201 | 207365 | 207283 |  | '-0.00'' | 422160 | 422428 | 422491 | 422498 | 422648 | 422600 | 422470.8333 | 171.8539 |  |  | '-0.00'' | 245963 | 246162 | 246251 | 246250 | 246310 | 246318 | 246209 | 132.8548 |  |  | '-0.00''
600 | 0 | 262044 | 262393 | 262218.5 | 0 | '-0.00'' | 218883 | 218733 | 218584 | 218599 | 218637 | 218390 | 218637.6667 | 164.3115 | 0 | 0 | '0.00'' | 112873 | 112772 | 112812 | 112786 | 112774 | 112751 | 112794.6667 | 43.2651 | 0 | 0 | '0.00'' | 0
600 | 39.6667 | 171212 | 171392 | 171302 | 0.1849 | '-0.00'' | 70377 | 70482 | 70443 | 70532 | 70586 | 70612 | 70505.3333 | 88.8767 | 0.00063737 | 0.4915 | '-0.00'' | 19883 | 19984 | 19968 | 19989 | 19974 | 20008 | 19967.6667 | 43.7203 | 0.00096539 | 0.75196 | '-0.00'' | 0.26046
650 | 36.6154 | 170551 | 170532 | 170541.5 | 0.18683 | '0.00'' | 78120 | 78333 | 78339 | 78401 | 78564 | 78446 | 78367.1667 | 147.7531 | 0.00088147 | 0.44559 | '-0.00'' | 22633 | 22590 | 22618 | 22635 | 22702 | 22747 | 22654.1667 | 58.5608 | 0.0011349 | 0.69714 | '-0.00'' | 0.25155
700 | 34 | 181853 | 181775 | 181814 | 0.15904 | '0.00'' | 85738 | 85270 | 85281 | 85128 | 85091 | 84930 | 85239.6667 | 276.199 | 0.0014446 | 0.40908 | '0.00'' | 27200 | 27006 | 26900 | 27009 | 26927 | 26899 | 26990.1667 | 114.0761 | 0.0018431 | 0.62108 | '0.00'' | 0.212
750 | 31.7333 | 189596 | 189764 | 189680 | 0.14064 | '-0.00'' | 90358 | 90396 | 90320 | 90417 | 90306 | 90415 | 90368.6667 | 48.248 | 0.00040036 | 0.38371 | '-0.00'' | 28287 | 28283 | 28283 | 28267 | 28243 | 28268 | 28271.8333 | 16.4246 | 0.00030234 | 0.60093 | '0.00'' | 0.21723
800 | 29.75 | 192844 | 192841 | 192842.5 | 0.13346 | '0.00'' | 94303 | 94520 | 94513 | 94536 | 94541 | 94506 | 94486.5 | 90.8818 | 0.00053011 | 0.36436 | '-0.00'' | 30454 | 30501 | 30521 | 30516 | 30505 | 30490 | 30497.8333 | 24.1281 | 0.00038184 | 0.56802 | '-0.00'' | 0.20366
850 | 28 | 202181 | 202410 | 202295.5 | 0.11268 | '-0.00'' | 100118 | 99836 | 99522 | 99661 | 99635 | 99219 | 99665.1667 | 301.5728 | 0.001354 | 0.34118 | '0.00'' | 33497 | 33421 | 33120 | 33079 | 32881 | 33069 | 33177.8333 | 234.1217 | 0.0030692 | 0.53144 | '0.01'' | 0.19026
900 | 26.4444 | 202967 | 203418 | 203192.5 | 0.11076 | '-0.00'' | 104001 | 104061 | 104010 | 104019 | 103837 | 103939 | 103977.8333 | 79.4038 | 0.00046532 | 0.32278 | '0.00'' | 35638 | 35746 | 35745 | 35836 | 35771 | 35698 | 35739 | 66.9328 | 0.00083024 | 0.49915 | '-0.00'' | 0.17636
950 | 25.0526 | 198658 | 198711 | 198684.5 | 0.1205 | '-0.00'' | 106086 | 106270 | 106221 | 106317 | 106048 | 105964 | 106151 | 138.8668 | 0.00065522 | 0.3138 | '0.00'' | 39645 | 39577 | 39590 | 39578 | 39682 | 39599 | 39611.8333 | 42.4802 | 0.00049464 | 0.45446 | '0.00'' | 0.14066
1000 | 23.8 | 208030 | 209051 | 208540.5 | 0.099473 | '-0.00'' | 109508 | 109536 | 109458 | 109414 | 109387 | 109402 | 109450.8333 | 60.6446 | 0.0004055 | 0.30051 | '0.00'' | 38543 | 38526 | 38468 | 38499 | 38494 | 38498 | 38504.6667 | 26.3034 | 0.00034025 | 0.46678 | '0.00'' | 0.16627